## Slide 1
AHSANULLAH UNIVERSITY OF SCIENCE AND TECHNOLOGY
STUDY ON FAULTS AND PROTECTION IN AC GRIDS CONNECTED WITH HVDC OFFSHORE WIND FARM
Supervised by
Mr. Ata-E-Rabbi
Presented by
190205088: MD. KHORSHEDUZZAMAN SIZAN
190205093: ANTOR ROY
190205161: S. M. FAISAL AHMED PRANTO
190205178: SHARAF JOAHER KHAN

## Slide 2
Page 02
AHSANULLAH UNIVERSITY OF SCIENCE AND TECHNOLOGY
Objectives
  To observe the response of faults in various locations of HVDC system connected with
  AC grid.
  Make an index of fault severity
  To identify which protection mechanism is best suited for each fault.
  Loss minimization and quick fault recovery by changing the parameters of the existing protection mechanism.
Literature Review
  VSC technology has more advantages than LCC technology in HVDC system.
  FRT is crucial for maintaining grid stability and reliability
  Protection devices/circuits used in HVDC system Connected to AC grids-
  Overcurrent relays,
  Differential relays,
  Frequency relays,
  Fault locators,
  Distance relays,
  Travelling wave relays,
  IEDs
  Synchrophasor devices
  DC chopper circuits
  Crowbar circuits

## Slide 3
Page 03
Problem Formulation
Faults associated with the integration of HVDC offshore wind farms into AC grids:
Integration of HVDC offshore wind farm into AC grid
01
02
03
04
05
06
Converter Station Faults
AC Side Faults
DC Side Faults
Transformer Faults
Communication System Faults
Wind Turbine Generator Faults
AHSANULLAH UNIVERSITY OF SCIENCE AND TECHNOLOGY

## Slide 4
Page 04
Methodology
AHSANULLAH UNIVERSITY OF SCIENCE AND TECHNOLOGY
  Conventional protection methods
  Handshaking method
  Traveling wave-based methods
  Transient-based protection methods
  Voltage and current derivatives-based methods
  Circuit breaker and semiconductor device-based methods
Various Fault Protection Methods
The Outcome of this Thesis/Project
01
Identify Fault Severity Index
02
Identify Better Protection Mechanism
03
Loss Minimisation
04
Quick Fault Recovery